## MaterialsTestingCommissioning
PROPOSED PACU MONITORING
ITEM | SCOPE OF WORKS | Unit | Qty | Recommended Brand | MATERIALS (PhP) |  | LABOR (PhP) |  | TOTAL (MAT'L + LABOR) PHP
[5 empty] | Unit Cost | Total Cost | Unit Cost | Total Cost
I. | OSM | [7 empty] | 0
1 | Installation of Control Panel, complete with accessories and the ff: - 15A 240V, 1P, MCB - 240V to 12V Step Down Transformer - Industrial grade Modem | unit | 1 | [5 empty] | 0
2 | Installation of IOT based Temperature/Humidity Device | units | 6 | [5 empty] | 0
II. | Permit & Insurance | [7 empty] | 0
1 | Permits (If needed) | lot | 1 | [5 empty] | 0
2 | CARI (if needed) | lot | 1 |  |  |  | 0 | 0 | 0
III. | Electrical & Civil Works | [7 empty] | 0
1 | Roughing & Wiring ins for Communication Cable Layout (PACU 1 & 2) | [7 empty] | 0
1.1 | Roughing ins | [7 empty] | 0 | 0
1.1.1 | 15mm Rigid Steel Conduit | lengths | 26 | [5 empty] | 0 | 0
1.1.2 | Hangers & Support | lot | 1
1.1.3 | Civil Works (Chipping & Restoration for conduit penetration on dry wall) | lot | 1
1.2 | Wiring Ins
1.2.1 | Communication Cable | meters | 154 | [5 empty] | 0
2 | Roughing & Wiring ins for Communication Cable Layout (PACU 3 & 4) | [7 empty] | 0
2.1 | Roughing ins | [7 empty] | 0 | 0
2.1.1 | 15mm Rigid Steel Conduit | lengths | 22 | [5 empty] | 0 | 0
2.1.2 | Hangers & Support | lot | 1
2.1.3 | Civil Works (Chipping & Restoration for conduit penetration on dry wall) | lot | 1
2.2 | Wiring Ins
2.2.1 | Communication Cable | meters | 269 | [5 empty] | 0
3 | Roughing & Wiring ins for Communication Cable Layout (PACU 3 & 4) | [7 empty] | 0
3.1 | Roughing ins | [7 empty] | 0 | 0
3.1.1 | 15mm Rigid Steel Conduit | lengths | 18 | [5 empty] | 0 | 0
3.1.2 | Hangers & Support | lot | 1
3.1.3 | Civil Works (Chipping & Restoration for conduit penetration on dry wall) | lot | 1
3.2 | Wiring Ins
3.2.1 | Communication Cable | meters | 218 | [5 empty] | 0
4 | Roughing & Wiring ins for Communication Cable Layout (PACU 3 & 4) | [7 empty] | 0
4.1 | Roughing ins | [7 empty] | 0 | 0
4.1.1 | 15mm Rigid Steel Conduit | lengths | 12 | [5 empty] | 0 | 0
4.1.2 | Hangers & Support | lot | 1
4.1.3 | Civil Works (Chipping & Restoration for conduit penetration on dry wall) | lot | 1
4.2 | Wiring Ins
4.2.1 | Communication Cable | meters | 69 | [5 empty] | 0
2 | Roughing & Wiring ins for Control Panel power supply
2.1 | 15mm Rigid Steel Conduit | lengths | 2
2.2 | 3.5sq.mm THHN | meters | 20
2.3 | 2.0sq.mm THHN (Ground) | meters | 10
2.4 | Civil Works (Chipping & Restoration of Dry Wall for conduit layout inside the dry wall) | lot | 1
3 | Painting Works (Painting of Conduits, Utility & Junction Boxes) | lot | 1
4 | Miscellaneous & Consumables (Junction Box, Lugs, Vinyl Wrap, Connectors, Clamps, Wiring Guide, Tox/Screw, etc) | lot | 1
5 | Termination Works (Power & Communication) | lot | 1
IV | IOT |  |  |  | 0 | 0 |  |  | 0
V | Other Works |  |  |  | 0 | 0 |  |  | 0
2 | Project Management | lot | 1
3 | Mobillization/Demobilization | lot | 1 | [5 empty] | 0
4 | Housekeeping | lot | 1 | [5 empty] | 0
5 | Testing and Commisioning | lot | 1 | [5 empty] | 0
6 | Hand Over & Archiving | lot | 1
VAT-EX
[7 empty] | VAT-IN |  | 0

## NOTES
NOTES
1 | The area have paintings & artifacts.
2 | During working hours, presence of Duty Security guards are needed.
3 | During chipping works, contractor to minimize the dust accumulated to avoid damage on paintings inside.
4 | Work permit are needed to be process days before to avoid delay.
5 | All roughing ins should be painted the same color on existing conduits.

## LAYOUT LENGTHS (hidden)
Item | Length | Dropping | Contingency (10%) | Total Roughing Ins | Total Wiring Ins
PACU 1 & 2 | 60.16 | 10 | 1.1 | 25.7253 | 154.352
PACU 3 & 4 | 51.087 | 10 | 1.1 | 22.3986 | 268.7828
PACU 5 & 6 | 39.6 | 10 | 1.1 | 18.1867 | 218.24
PACU 7 & 8 | 21.45 | 10 | 1.1 | 11.5317 | 69.19
Total | 172.297 |  |  | 77.8422 | 710.5648